## Slide 1
Not
Eligible
Not
Eligible
Not
Eligible
Invasively
ventilated?
P/F <300
mmHg?
Patient in ICU
1
2
Eligible for
enrolment?
Delay/ family
consent
Randomise
to CURE?
3
4
SIMV or
BiLevel Vent
(Vt = 6-8 ml/kg)
SPO2 Target:
For FiO2 <0.6 = 91-93%
For FIO2 ≥0.6 = 88-90%
Randomise
(within 4-12 hours)
5
Usual care: Physiological Data will continue to be collected
Go to
Standard
Protocol
Go to
CURE
Protocol
CURE RCT SCREENING
STANDARD PRACTICE
Rocuronium
(0.6-1 mg/kg)
Select new PEEP
Max RM
(PIP ≥ 50 cmH2O)
Rocuronium
(0.6 -1 mg/kg)
SIMV / Supine
CONTROL (STANDARD)
PROTOCOL
SpO2 ≤90% and
FiO2 ≥0.6 and
PEEP ≥15 cmH2O?
Select PEEP as
per usual clinical
practice
Usual care: Physiological Data will continue to be collected
26
Go to
Weaning
Back from
Weaning
Start
Protocol
20
Ventilator
dyssynchrony?
≤ 10d since
randomisation?
21
22
23
24
25
Is a MaxRM
considered to be in
best interests of
patient?
FiO2 ≤0.4
& PEEP ≤
10 cmH2O?

## Slide 2
Usual Care
Rocuronium
(0.6-1 mg/kg)
INTERVENTION (CURE)
PROTOCOL
Go to
Weaning
Start
Protocol
27
Back from
Weaning
Select New PEEP
Usual care: Physiological Data will continue to be collected
6
7
Max RM
(PIP ≥ 50 cmH2O Rocuronium
(1 mg/kg)
SIMV / Supine
8
9
>2h since
Max RM
or PUMP?
Ventilator
dyssynchrony?
10
FiO2 ≤0.4 &
PEEP ≤
10 cmH2O?
↑ FiO2 by
0.1 ≥30 mins?
≥6h since
Max RM or
PUMP ?
1. Current FiO2 is the
lowest FiO2 for past 6h
OR
2. FiO2 is lower 30 min post
PUMP?
PUMP
(PEEP -2 to +6 cmH2O)
Rocuronium*
(0.6-1 mg/kg)
SIMV / Supine
11
12
≤ 10d since
randomisation?
WEANING
PROTOCOL
Start
Weaning
13
PASS
WEANING
ASSESSMENT?
Set PS to 10-12 cmH2O; PEEP ≤10 cmH2O
≥3 of the following for ≥30 mins?
RESPIRATORY:
1. RR (total) ≤25 /min?
2. VE ≤ 150 mL/kg/min?
CARDIOVASCULAR:
3. Vasoactive infusions ≤10
mcg/min
4. HR ≤130 /min?
15
Usual care: Physiological Data will continue to be collected
Wean PS/PEEP
after 12h,
PEEP maybe
reduced to ≤10 cmH2O
if FiO2 ≤0.3
FiO2 >0.45?
FiO2 >0.45?
≤12h of
full M.V?
In CURE
Protocol?
≤2h since
weaning
assessment?
SIMV or
BiLevel Vent
(Vt = 6-8 ml/kg)
≤10d since
randomisation
Go to
INTERVENTION
Go to
CONTROL
16
18
17
19
≤10d since
randomisation
13
14